## User Guide
User Manual Guide for ElioDXTM Total human IgG Calculation Template
Version 1.0 ¦ March 2026
This Excel template is designed to automatically calculate the concentration of unknown samples based on measured dC (y) using the predefined lot-specific calibration curve.
Instructions for Use
Open the HIGG Tab
Open the ElioDX™ IgG Calculation Excel file provided with the kit.
Enter Sample Data
Locate the input column for dC values
Enter the measured dC values exported from ElioDX™ Cloud into the designated cells.
Automatic Calculation
The template will automatically calculate the corresponding concentration (x) for each sample using the embedded equation.
No manual calculation is required.
Review Results
Calculated concentrations will appear in the output column.
Verify that all entered values fall within the assay’s valid measurement range.
Important Notes
➢ Do not modify cells containing formulas, as this may affect calculation accuracy.
➢ Ensure that input values are correctly formatted (numeric, no extra spaces).
➢ Results are only valid for samples processed according to the kit instructions.
➢ If values fall outside the standard curve range, results may be unreliable.
Important Notes
For questions regarding the template or data analysis, refer to the ElioDX™ Cloud Manual or contact technical support: support@elionova.com

## HIGG
Please Do not fill in the blue box
Sample ID | Results |  |  |  | Average dc | Calculated HIGG concentration (ug/mL) | Dilution factor | Original HIGG concentration (ug/mL)
| dC1 | dC 2 | dC3 | dC4
[5 empty] | #DIV/0! | #DIV/0! | 32000 | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | 32000 | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | 32000 | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | 32000 | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | 32000 | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | 32000 | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | 32000 | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | 32000 | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | 32000 | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | 32000 | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | 32000 | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | 32000 | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | 32000 | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | 32000 | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | 32000 | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | 32000 | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | 32000 | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | 32000 | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | 32000 | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! | 32000 | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!
[5 empty] | #DIV/0! | #DIV/0! |  | #DIV/0!